Y

Product: Bovine Anti-Human IgG (H&L) Biotin, Affinity Purified.

Catalog Number: BHGB

Lot Number:

Size: 0.5mg in 0.5ml PBS buffer containing 0.02% Na Azide.

Specificity: The antibody reacts with both heavy and light chains of human IgG with minimal cross-reactivity to other mammalian IgG.

Suggested Dilution Range: 	1:1,000-1:5,000 for ELISA, Western Blot, color substrates

1:5,000-1:10,000 for Western Blot chemiluminescence.  Customer needs to optimize dilutions for IHC/ICC.

Preservative: 0.02% sodium azide.

Short Term Storage: 2-8oC as an undiluted liquid for several weeks. After dilution, do not use for more than one day.

Long Term Storage: -20oC for up to one year.

Note: 	For in vitro research use only, not for diagnostic or therapeutic use.