Y

Product: Chicken anti-ghrelin, peptide aa17-28, affinity purified, human, mouse specific

Catalog Number: OB0006

Lot Number: 51106

Size: 0.2mg in PBS with 0.02% Na Azide.

Immunogen: Ghrelin C-terminal peptide aa17-28

Suggested Usage: The product can be used at 1:500 to 1:2,000 in coating buffer as coating antibody in ELISA testing.

Short Term Storage: 2-8oC for one week.

Long Term Storage: -20oC as an undiluted liquid for up to two year.

Note: 	For in vitro research use only, not for diagnostic or therapeutic use.

Please feel free to call us if you have any question regarding to this product or any other GeneTel’s product.

OB0006 in Sandwich ELISA for analysis of active ghrelin.  The antibody was coated on ELISA plate.  Various concentrations of active ghrelin were incubated and detected with GeneTel’s OB0005 at a 1:1000 dilution.